## Uniform Price Model
Province | MW | MWh | Cummuative | Deamnd | 2148.20 MW | 2148.2 | 2000
Bagmati | 1185.2 | 687.7063 | 1185.2 |  |  | 2148.2 | 0 | Schedule Table | Cost (Rs/MWh)) | Scheduled Quantily (MWh) | Production Cost (Rs) | Revenue (Rs) | Surplus
Koshi | 332.1 | 1016.14 | 1517.3 |  |  |  |  | Bagmati | 687.7063 | 1185.2 | 815069.5068 | 1473574.5676 | 658505.0608
Gandaki | 696 | 1243.313 | 2213.3 |  |  |  |  | Koshi | 1016.14 | 332.1 | 337460.094 | 412904.2473 | 75444.1533
Sudurpashim | 94 | 1503.011 | 2307.3 |  |  |  |  | Gandaki | 1243.313 | 677.3 | 842095.8949 | 842095.8949 | 0
[8 empty] | Sudurpashim | 1503.011 | 0 | 0 | 0 | 0
0 | 0 | 687.7063
| 1185.2 | 687.7063 | [5 empty] | Total Cost of Generation (Rs) |  |  | 1994625.4957 | Rs
| 1185.2 | 1016.14
| 1517.3 | 1016.14 | [5 empty] | Market Clearing Price | 1243.313 | Rs/MWh
| 1517.3 | 1243.313
| 2213.3 | 1243.313
| 2213.3 | 1503.011 | [5 empty] | Congetion | Lumbini to Gandaki |  | 450MW | 473 MW
| 2307.3 | 1503.011

## Consumers
NEA | 5460000 | 90.9697
CREE | 480000 | 7.9973
BPC | 62000 | 1.033
Total | 6002000

## Zonal Pricing Model
Province | Offer Price [Rs/MWh] | Scheduled Quantily (MWh) | Production Cost (Rs) | Bus Price [Rs/MWh] | Revenue [Rs] | Surplus [Rs]
Bagmati | 687.7063 | 1185.12 | 815014.4903 | 1243.313 | 1473475.1026 | 658460.6123
Koshi | 1016.14 | 332.1 | 337460.094 | 1243.313 | 412904.2473 | 75444.1533
Gandaki | 1243.313 | 597.07 | 742344.8929 | 1243.313 | 742344.8929 | 0
Sudurpashim | 1503.011 | 67.17 | 100957.2489 | 1503.011 | 100957.2489 | 0 |  |  | UPM | 1994625.4957
Total |  |  | 1995776.726 | [5 empty] | Zonal | 1995776.726
[9 empty] | Diffenence | 1151.2304
Loss | 33.27
Demand | 2148.2
Generation | 2181.47
Loss | 33.27
[5 empty] | Schedule Table | Cost (Rs/MWh)) | Scheduled Quantily (MWh) | Production Cost (Rs) | Revenue (Rs) | Surplus

## comparision
Comparison between Zonal and Uniform Pricing Scheme
Comparison Parameter | Uniform | Zonal
Total Production Cost (Rs) | 44.4 | 33.27
Network Loss (Rs/hr) | 1994821.13 | 1995943.25
Surplus to Producers (Rs) | 733949.21 | 733904.77

## O and M Cost
Size of Hydro Power Plant | per cent of Initial Investment
less than 20 MW | 4%
greater than 20 MW | 3%
greater than100 MW | 2.5%

## Transmiison parameters
From | To | Power Transfer Capacity (MVA) | Size of Hydro Power Plant | per cent of Initial Investment
Koshi | Madesh | 275 | less than 20 MW | 4%
Madesh | Bagmati | 550 | greater than 20 MW | 3%
Bagmati | Gandaki | 782.5 | greater than100 MW | 2.5%
Gandaki | Lumbini | 450
Limbini | Sudurpashim | 275

## O&M
Province | Load (MW) | Generation (M W) | Annual Generation (MWh) | Investment Cost (Million Rs)
Bagmati | 1042 | 1185.2 | 6052513 | 148823
Gandaki | 124.1 | 696 | 3789907.4 | 161503
Koshi | 187.9 | 332.1 |  | 58418
Lumbini | 379.3 | - | - | -
Madhesh | 320.9 | - | - | -
Sudurpashchim | 94 | 70 | 448300 | 22460